## Slide 1: Thermal Infrared Observation using Adaptive Secondary Mirror (ASM)
Hiroshi TERADA
(Subaru Telescope)
Ground-based Thermal IR w/AO
Subaru Thermal IR w/AOs
Subaru Thermal IR w/ASM
Talk Contents

## Slide 2: Ground based Thermal IR Observation
1-2um
  OH emission lines
>2um
  Thermal Radiation (from Sky and Ambient)
Background Emissions
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
http://www.kusastro.kyoto-u.ac.jp/~iwamuro/LECTURE/OBS/atmos.html

## Slide 3: Ground based Thermal IR Observation
Atmospheric Transmission
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
z
J
H
K
L
M
N
Q

## Slide 4: AO Observation @ Thermal IR
Performance in General
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
Higher Background
Longer wavelength
  -> Better correction
  -> Covering wider FOV
  (angle∝λ(1.2))
Image Quality Good Enough @ Mid-IR under Natural Seeing?
  (seeing∝λ(-0.2))

## Slide 5: Subaru AO Observation
1st Generation AO (AO36)
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
AO36@Subaru Cassegrain focus
CIAO
Beam Splitter: COLD n instrument
IRCS

## Slide 6: Subaru AO Observation
1st Generation AO (AO36)
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
■ w/o AO36
■ w/ AO36
K’
L’
M’
Background increase w/AO36 from w/o AO36 | 
K’ | -0.08 mag
L’ | -0.33 mag
M’ | -0.16 mag

## Slide 7: Subaru AO Observation
2nd Generation AO (LGS/AO188)
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
AO188 @ Subaru Infrared Nasmyth
IRCS
Beam Splitter: WARM outside instrument
Image Rotator: On AO188

## Slide 8: Subaru AO Observation
2nd Generation AO (LGS/AO188)
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
■ w/o AO188, ImgRot(Tel)
■ w/ AO188
■ w/o AO188, w/ImgRot(Tel)
K
L’
M’
Background increase w/AO188 from w/o AO188,ImgRot | 
K | -0.39 mag
L’ | -0.52 mag
M’ | -0.35 mag

## Slide 9: Subaru AO Observation
2nd Generation AO (LGS/AO188)
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
Warm dust / Coating defect on
  Optical Surface
One More Thing…
Cf. Current

## Slide 10: Subaru AO Observation
w/ and w/o AO188 L-band Observation
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
L-band Low-resolution Spectroscopy
Slit width: 0”.45 / 90sec * 24 = 2160sec
Slit width: 0”.225 / 50sec * 20 = 1000sec
Comparable S/N w/ half an exposure time

## Slide 11: Subaru Mid-IR Observation
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
COMICS @ Subaru Cassegrain
18.8
12.4
8.8
Diffraction Limited Image
Close to Diffraction Limited Image
  in N-band
Stable Diffraction Limited Image
  in Q-band
Technically Challenging for
  ASM Chopping
Data from 2009-02-01 to 2010-01-31

## Slide 12: Subaru Low Background Thermal IR Observation
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
■ w/ AO188 (NsIR)
■ w/o AO36 (Cs)
Background decrease from [NsIR] AO188 to [Cs] | 
K/K’ | +0.46 mag
L’ | +0.86 mag
M’ | +0.56 mag
ASM / Cs

## Slide 13: Low Background Observation @ Thermal IR w/ ASM
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
On-source mode
Strehl > 0.8 in any case
Sensitivity improvement for
  all background-limit
  observations.
Concept Examples:
  IFU @ >3um
    (currently not existing)
  Wider FOV @ L’, M’-bands
    Isoplanatic angle: θ0 ∝ λ^(1.2)
    L’: 30” * (3.77/2.2)^(1.2) ~ 57”
    M’: 30” * (4.68/2.2)^(1.2) ~ 74”
from GLAO Simulation by Oya
H2RG (5.5um cut-off)
  30mas/pix => 1’x1’
  40mas/pix => 1.3’x1.3’

## Slide 14: Even Lower Background @ Ls? Possible Removal of CH4
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
Bottle Neck
http://www.nies.go.jp/kanko/tokubetu/sr52/sr52.pdf
CH４ lines

## Slide 15: Low Background Observation @ Thermal IR w/ ASM
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
GLAO mode
    Better performance than < 2um
from GLAO Simulation by Oya

## Slide 16: Low Background Observation @ Thermal IR w/ ASM
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
GLAO mode
Close to Diffraction Limited Image @ L’&M’ over Diameter~10’
  Multi Object AO can be realized in this mode..
  Not Widest FOV, but Patrol type Instrument..
r=5’
a
b
Under average natural seeing
■ L’
■ K
■ M’
■ L’
■ K
■ M’

## Slide 17: Low Background Observation @ Thermal IR w/ ASM
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
MOAO mode
  ASM benefitial as Woofer? -> No.
  Anyway additional optics is needed…
    Negative.

## Slide 18: Summary
Hiroshi TERADA @ Subaru Telescope
Subaru NGAO Workshop @ Osaka-U on 2011/09/08
Good AO performance (>2-3um)
AO additional optics => S/N Down >2um
  # AO sharp image => S/N Up in the end.
ASM => no degradation in background.
MIR band may not need AO.
Great On source performance (32x32 ASM)
    => Benefit for All the Thermal IR Obs.
Good GLAO performance
    => Patrol covering Wide FOV.